Generator

GP15000e

Model # 0057341

Serial # 8061446

Engine

Model # 0J2542

Serial # E8868464

Generac Customer Service

Monday - Friday 7:00am - 6:00pm CST

1-888-GENERAC (1-888-436-3722)

<https://www.generac.com/service-support/product-support-lookup/product-support-details?productid=23966e2e-4100-4546-add7-2e988e58807b&serialNumber=8061446&registered=false>

**Overview**

* **Running/Starting Watts:** 15000/22500
* **Run Time @ 50% Load:** 10 hours
* **Oil Type:** Check chart in manual
* **Oil Capacity:** 1.7 quarts
* **Oil Filter P/N:** 070185ES
* **Air Filter P/N:** 0D9723
* **Fuel Tank Capacity:** 16 gallons
* **Spark Plug #:** 0E7585A
* **Spark Plug Gap:** 0.040 inches
* **Extension cord included:** No
* **Parallel Capable:** No
* **Starting Method:** Electric Start
* **Battery Included:** Yes
* **Battery P/N:** 0D4575

0D4409

ORDERTREE.COM